Plant Bypass Location:

WE-WPCC

221 Erie Road

Eastlake, OH

At Outfall located in Lake Erie 1500' from shore at 41-40.717 81-26.714

Date: June 16, 2019

Start: 4:10 pm

Stopped: 9:21pm am

Flow: 1.685 MG

Due to wet weather. 0.47" of rain over 5.0 hours after three days of moderate rainfall.

f:\epa violations\non compliance\2019\Willoughby and Eastlake Website Alert Tab 06-16-19