Plant Bypass Location:

WE-WPCC

221 Erie Road

Eastlake, OH

At Outfall located in Lake Erie 1500' from shore at 41-40.717 81-26.714

Date: March 28, 2020

Start: 2:00 pm

Stop: 4:07 pm

Flow: 0.052 MG

Wet weather - 0.86" of rain over 13.25 hours

Plant Bypass Location:

WE-WPCC

221 Erie Road

Eastlake, OH

At Outfall located in Lake Erie 1500' from shore at 41-40.717 81-26.714

Date: March 29, 2020

Start: 2:46 am

Stop: 8:02 pm

Flow: 11.970 MG

Wet weather - 2.04" of rain over 35.75 hours

East Island Overflow

At Chagrin River (East Channel) Outfall at 41o40'41"N 81o25'45"W

Date: March 29, 2020

Start: 3:16 am

Stop: 6:18 am

Flow: 0.245 MG

Wet weather - 1.66" of rain over 26.5 hours

East Island Overflow

At Chagrin River (East Channel) Outfall at 41o40'41"N 81o25'45"W

Date: March 29, 2020

Start: 12:14 pm

Stop: 2:46 pm

Flow: 0.137 MG

Wet weather - 0.37" of rain over 0.75 hours after 1.66" of rain over 35.25 hours

f:\epa violations\By Pass SSO\2020\RAIN EVENT FOR MARCH 28, 29 2020 for ALERT TAB