**Plant Bypass Location**

WE-WPCC

221 Erie Road

Eastlake, OH

At Outfall located in Lake Erie 1500' from shore at 41-40.717 81-26.714

Date: January 04, 2023

Start: 16:07

Stopped: 00:07

Flow: 3.316 MG

Due to Rainfall of 1.16" over 4.25 hours after rainfall event of 0.61" over 8.75 hours that ended 22.75 hours prior

**Quentin Road**

33385 Lakeshore Blvd.

Eastlake, OH

At Lake Erie Shoreline Outfall at 41o39'19"N 81o27'38"W

Date: January 04, 2023

Start: 15:03

Stop: 15:49

Flow: 0.005 MG

Due to Rainfall of 1.16" over 4.25 hours after rainfall event of 0.61" over 8.75 hours that ended 22.75 hours prior

**Erie Road Equalization Tank**

37201 Erie Road

Willoughby, OH

41o65'29"N 81o41'86"W

Date: January 04, 2023

Start: 17:08

Stop: 19:13

Volume: 0.139 MG

f:\epa violations\Bypass SSO\2020\Alert tab info for Plant ByPass January 02 2021